## Equip Inv-HVAC
Systems to be Commissioned
Level | Equip Tag | System | Pre-Functional Checklist | Functional Test Protocol | Sample Size | Notes
HVAC Systems
| Chilled Water System |  | No | Yes | Each Sub-system Tested as part of the System Test
| CH-1 | Air-Cooled Chiller | Yes | Yes
| CH-2 | Air-Cooled Chiller | Yes | Yes
| CH-3 | Air-Cooled Chiller | Yes | Yes
| P-7 | Primary Chilled Water Pump | Yes | Yes
| P-8 | Primary Chilled Water Pump | Yes | Yes
| P-9 | Primary Chilled Water Pump | Yes | Yes
| P-10 | Secondary Chilled Water Pump (VFD) | Yes | Yes
| P-11 | Secondary Chilled Water Pump (VFD) | Yes | Yes
| P-12 | Secondary Chilled Water Pump (VFD) | Yes | Yes
| ET-1 | Expansion Tank | Yes | No
| AS-1 | Air Separator | Yes | No
| FM-1 | Flow Meter | Yes | No
| T-6 | Chilled Water Storage Tank | Yes | No
| RV-1 | Pressure Relief Valve | Yes | No
| RV-2 | Pressure Relief Valve | Yes | No
| PRV-1 | Pressure Reducing Valve | Yes | No
|  | Chemcial Feeder | Yes | No
| Heating Hot Water System |  | No | yes | Each Sub-system Tested as part of the System Test
| B-1 | Boiler, Fuel Oil (RVx2) | Yes | yes
| B-2 | Boiler, Fuel Oil (RVx2) | Yes | yes
| B-3 | Boiler, Fuel Oil (RVx2) | Yes | yes
| HX-A | Steam-to-Hot-Water Heat Exchanger | Yes | yes
| HX-B | Steam-to-Hot-Water Heat Exchanger | Yes | yes
| P-1 | Primary Hot Water Pump | Yes | yes
| P-2 | Primary Hot Water Pump | Yes | yes
| P-3 | Primary Hot Water Pump | Yes | yes
| P-4 | Secondary Hot Water Pump (VFD) | Yes | yes
| P-5 | Secondary Hot Water Pump (VFD) | Yes | yes
| P-6 | Secondary Hot Water Pump (VFD) | Yes | yes
| ET-2 | Expansion Tank | Yes | No
| ET-3 | Expansion Tank | Yes | No
| AS-2 | Air Separator | Yes | No
| FM-2 | Flow Meter | Yes | No
| RV-3 | Pressure Relief Valve (HW Makeup) | Yes | No
| RV-4 | Pressure Relief Valve (B-1) | Yes | No
| RV-5 | Pressure Relief Valve (B-2) | Yes | No
| RV-6 | Pressure Relief Valve (B-3) | Yes | No
| RV-9 | Pressure Relief Valve (B-1) | Yes | No
| RV-10 | Pressure Relief Valve (B-2) | Yes | No
| RV-11 | Pressure Relief Valve (B-3) | Yes | No
| PRV-2 | Pressure Reducing Valve | Yes | No
|  | Chemcial Feeder | Yes | No
| Radiator Hot Water System |  | No | Yes | Each Sub-system Tested as part of the System Test
| HX-1 | Heat Exchanger | Yes | Yes
| HX-2 | Heat Exchanger | Yes | Yes
| P-13 | Radiator Hot Water Pump (VFD) | Yes | Yes
| P-14 | Radiator Hot Water Pump (VFD) | Yes | Yes
| ET-4 | Expansion Tank | Yes | No
| AS-3 | Air Separator | Yes | No
| FM-3 | Flow Meter | Yes | No
| RV-3 | Pressure Relief Valve (RHW Makeup) | Yes | No
| RV-8 | Pressure Relief Valve (RHW System) | Yes | No
| PRV-3 | Pressure Reducing Valve | Yes | No
|  | Chemcial Feeder | Yes | No
| Fuel Oil System |  | No
| T-1 | Fuel Oil Tank (Main Storage Tank) | Yes | Yes | Each Sub-system Tested as part of the System Test
| T-2 | Fuel Oil Tank (Main Storage Tank) | Yes | Yes
| T-3 | Fuel Oil Tank (Boiler Day Tank) | Yes | Yes
| T-4 | Fuel Oil Tank (Boiler Day Tank) | Yes | Yes
| T-5 | Fuel Oil Tank (Boiler Day Tank) | Yes | Yes
| T-6 | Fuel Oil Tank (Gen Day Tank) | Yes | Yes
| P-15 | Fuel Oil Pump (Gen Day Tank) | Yes | Yes
| P-16 | Fuel Oil Pump | Yes | Yes
| FM-4 | Flow Meter | Yes | No
| PRV-4 | Pressure Reducing Valve (Boiler Fuel Supply) | Yes | No
| PRV-5 | Pressure Reducing Valve (Gen Fuel Supply) | Yes | No
| PRV-6 | Pressure Reducing Valve (Gen Fuel Supply) | Yes | No
|  | Motorized 3-Way Valve | Yes | No
| Air Handling System 1.1 |  | No | Yes | Each Sub-system Tested as part of the System Test
S1 | AHU-1.1 | Variable Air Volume Modular AHU | Yes | Yes
C |  | Supply Fan
VFD
Hot Water Coil
Chilled Water Coil
Outdoor Air Intake
S2 | AFMS-1.1.1 | Air Flow Measuring Station (AHU 1.1 SA)
S2 | P-1.1 | Hot Water Circulating Pump
S2 | RF-1.1 | Return Air Fan (VFD) | Yes | Yes
S2 | AFMS-1.1.2 | Air Flow Measuring Station (RF-1.1 RA) | No | No
S2 | AFMS-1.1.3 | Air Flow Measuring Station (AHU-1.1 OA) | No | No
S2 | GRV-1.1 | Gravity Ventilator | Yes | No
S2 | AB-1.1 | Air Blender | No | No
S2 | EF-1.1.1 | Exhaust Fan | Yes | No
S2 | EF-1.1.2 | Exhaust Fan | Yes | No
S2 | EF-1.1.3 | Exhaust Fan | Yes | No
S2 | EF-1.1.4 | Exhaust Fan | Yes | No
S2 | EF-1.1.5 | Exhaust Fan | Yes | No
| Air Handling System 1.2 |  | No | Yes | Each Sub-system Tested as part of the System Test
| AHU-1.2 | Variable Air Volume Modular AHU | Yes | Yes
Supply Fan
VFD
Hot Water Coil
Chilled Water Coil
Outdoor Air Intake
| P-1.2 | Hot Water Circulating Pump
| AFMS-1.2.2 | Air Flow Measuring Station (AHU-1.2 SA)
| RF-1.2 | Return Air Fan (VFD) | Yes | Yes
| AFMS-1.2.2 | Air Flow Measuring Station (RF-1.2 RA) | No | No
| AFMS-1.2.3 | Air Flow Measuring Station (AHU-1.2 OA) | No | No
| AB-1.2 | Air Blender | No | No
| GRV-1.2 | Gravity Ventilator | Yes | No
| EF-1.2.1 | Exhaust Fan | Yes | No
| Air Handling System 1.3 |  | No | Yes | Each Sub-system Tested as part of the System Test
| AHU-1.3 | Variable Air Volume Modular AHU (100% OA) | Yes | Yes
Supply Fan
VFD
Hot Water Coil
Chilled Water Coil
Outdoor Air Intake
| H-1.3.1 | Humidifier (AHU)
| P-1.3 | Hot Water Circulating Pump
| AFMS-1.3.1 | Air Flow Measuring Station (AHU-1.3 SA)
| EF-1.3.1 | Exhaust Fan (VFD) | Yes | No
| EF-1.3.2 | Exhaust Fan (VFD) | Yes | No
| AFMS-1.3.2 | Air Flow Measuring Station (EF-1.3.2 EA) | No | No
| Air Handling System 1.4 |  | No | Yes | Each Sub-system Tested as part of the System Test
| AHU-1.4 | Variable Air Volume Modular AHU | Yes | Yes
Supply Fan
VFD
Hot Water Coil
Chilled Water Coil
Outdoor Air Intake
| P-1.4 | Hot Water Circulating Pump
| AFMS-1.4.1 | Air Flow Measuring Station (AHU-1.4 SA)
| RF-1.4 | Return Air Fan (VFD) | Yes | Yes
| AFMS-1.4.2 | Air Flow Measuring Station (RF-1.4 RA) | No | No
| AFMS-1.4.3 | Air Flow Measuring Station (AHU 1.4 OA) | No | No
| AB-1.4 | Air Blender | No | No
| GRV-1.4 | Gravity Ventilator | Yes | No
| EF-1.4.1 | Exhaust Fan | Yes | No
| EF-1.4.2 | Exhaust Fan | Yes | No
| Air Handling System 1.5 |  | No | Yes | Each Sub-system Tested as part of the System Test
| AHU-1.5 | Variable Air Volume Modular AHU | Yes | Yes
Supply Fan
VFD
Hot Water Coil
Chilled Water Coil
Outdoor Air Intake
| P-1.5 | Hot Water Circulating Pump
| AFMS-1.5.1 | Air Flow Measuring Station (AHU-1.5 SA)
| RF-1.5 | Return Air Fan (VFD) | Yes | Yes
| AFMS-1.5.2 | Air Flow Measuring Station (RF-1.5 RA) | No | No
| AFMS-1.5.3 | Air Flow Measuring Station (AHU-1.5 OA) | No | No
| AB-1.5 | Air Blender | No | No
| GRV-1.5 | Gravity Ventilator | Yes | No
| EF-1.5.1 | Exhaust Fan | Yes | No
| EF-1.5.2 | Exhaust Fan | Yes | No
| Air Handling System 2.1 |  | No | Yes | Each Sub-system Tested as part of the System Test
| AHU-2.1 | Variable Air Volume Modular AHU | Yes | Yes
Supply Fan
VFD
Hot Water Coil
Chilled Water Coil
Outdoor Air Intake
| P-2.1 | Heating Hot Water Circulating Pump
| AFMS-2.1.1 | Air Flow Measuring Station (AHU-2.1 SA)
| H-2.1.1 | Humidifier (Duct)
| ERU-2.1 | Energy Recovery Unit (VFD) | Yes | Yes
| AFMS-2.1.2 | Air Flow Measuring Station (ERU-2.1 EA) | No | No
| GRV-2.1 | Gravity Ventilator | Yes | No
| Air Handling System 2.2 |  | No | Yes | Each Sub-system Tested as part of the System Test
| AHU-2.2 | Variable Air Volume Modular AHU | Yes | Yes
Supply Fan
VFD
Hot Water Coil
Chilled Water Coil
Outdoor Air Intake
| H-2.2.1 | Humidifier (AHU)
| P-2.2 | Heating Hot Water Circulating Pump
| AFMS-2.2.1 | Air Flow Measuring Station (AHU-2.2 SA)
| ERU-2.2 | Energy Recovery Unit (VFDx2) | Yes | Yes
| AFMS-2.2.2 | Air Flow Measuring Station (ERU-2.2 EA) | No | No
| AFMS-2.2.3 | Air Flow Measuring Station (ERU-2.2 EA) | No | No
| AFMS-2.2.4 | Air Flow Measuring Station (ERU-2.2 EA) | No | No
| H-2.2.2 | Humidifier (Duct) | Yes | No
| SF-2.2.2 | Supply Fan (C-Section) | Yes | No
| GRV-2.2 | Gravity Ventilator | Yes | No
| Air Handling System 2.3 |  | No | Yes | Each Sub-system Tested as part of the System Test
| AHU-2.3 | Variable Air Volume Modular AHU | Yes | Yes
Supply Fan
VFD
Hot Water Coil
Chilled Water Coil
Outdoor Air Intake
| H-2.3.1 | Humidifier (AHU)
| P-2.3 | Heating Hot Water Circulating Pump
| AFMS-2.3.1 | Air Flow Measuring Station (AHU-2.3 SA)
| ERU-2.3 | Energy Recovery Unit (VFD) | Yes | Yes
| AFMS-2.3.2 | Air Flow Measuring Station (ERU-2.3 EA) | No | No
| H-2.3.2 | Humidifier (Duct) | Yes | No
| SF-2.3.2 | Supply Fan (NMB Processing) | Yes | No
| GRV-2.3 | Gravity Ventilator | Yes | No
| Air Handling System 2.4 |  | No | Yes | Each Sub-system Tested as part of the System Test
| AHU-2.4 | Variable Air Volume Modular AHU | Yes | Yes
Supply Fan
VFD
Hot Water Coil
Chilled Water Coil
Outdoor Air Intake
| H-2.4.1 | Humidifier (AHU)
| AFMS-2.4.1 | Air Flow Measuring Station (AHU-2.4 SA)
| RF-2.4 | Return Air Fan | Yes | Yes
| AFMS-2.4.2 | Air Flow Measuring Station (RF-2.4 RA) | No | No
| AFMS-2.4.3 | Air Flow Measuring Station (AHU-2.4 OA) | No | No
| H-2.4.2 | Humidifier (Duct) | Yes | No
| AB-2.4 | Air Blender | No | No
| GRV-2.4 | Gravity Ventilator | Yes | No
| EF-2.4.1 | Exhaust Fan | Yes | No
| EF-2.4.2 | Exhaust Fan | Yes | No
| EF-2.4.3 | Exhaust Fan | Yes | No
| Air Handling System 2.5 |  | No | Yes | Each Sub-system Tested as part of the System Test
| AHU-2.5 | Variable Air Volume Modular AHU | Yes | Yes
Supply Fan
VFD
Hot Water Coil
Chilled Water Coil
Outdoor Air Intake
| AFMS-2.5.1 | Air Flow Measuring Station (AHU-2.5 SA)
| RF-2.5 | Return Air Fan | Yes | Yes
| AFMS-2.5.2 | Air Flow Measuring Station (RF-2.5 RA) | No | No
| AFMS-2.5.3 | Air Flow Measuring Station (AHU-2.5 OA) | No | No
| H-2.5.1 | Humidifier (Duct) | Yes | No
| AB-2.5 | Air Blender | No | No
| GRV-2.5 | Gravity Ventilator | Yes | No
| EF-2.5.1 | Exhaust Fan | Yes | No
| Air Handling System 2.6 |  | No | Yes | Each Sub-system Tested as part of the System Test
| AHU-2.6 | Variable Air Volume Modular AHU | Yes | Yes
Supply Fan
VFD
Hot Water Coil
Chilled Water Coil
Outdoor Air Intake
| P-2.6 | Heating Hot Water Circulating Pump
| AFMS-2.6.1 | Air Flow Measuring Station (AHU-2.6 SA)
| RF-2.6 | Return Air Fan (VFD) | Yes | Yes
| AFMS-2.6.2 | Air Flow Measuring Station (RF-2.6 RA) | No | No
| AFMS-2.6.3 | Air Flow Measuring Station (AHU-2.6 OA) | No | No
| AB-2.6 | Air Blender | No | No
| GRV-2.6 | Gravity Ventilator | Yes | No
| EF-2.6.1 | Exhaust Fan | Yes | No
| EF-2.6.2 | Exhaust Fan | Yes | No
| EF-2.6.3 | Exhaust Fan | Yes | No
| Air Handling System 2.7 |  | No | Yes | Each Sub-system Tested as part of the System Test
| AHU-2.7 | Variable Air Volume Modular AHU | Yes | Yes
Supply Fan
VFD
Hot Water Coil
Chilled Water Coil
Outdoor Air Intake
| P-2.7 | Heating Hot Water Circulating Pump
| AFMS-2.7.1 | Air Flow Measuring Station (AHU-2.7 SA)
| RF-2.7 | Return Air Fan (VFD) | Yes | Yes
| AFMS-2.7.2 | Air Flow Measuring Station (RF-2.7 RA) | No | No
| AFMS-2.7.3 | Air Flow Measuring Station (AHU-2.7 OA) | No | No
| AB-2.7 | Air Blender | No | No
| GRV-2.7 | Gravity Ventilator | Yes | No
| EF-2.7.1 | Exhaust Fan | Yes | No
| EF-2.7.2 | Exhaust Fan | Yes | No
| EF-2.7.3 | Exhaust Fan | Yes | No
Miscellaneous Fans
| SF-3.1 | Supply Fan (Boiler B-1) | Yes | Yes | Sample 3 of 7
| SF-3.2 | Supply Fan (Boiler B-2) | Yes | Yes
| EF-3.1 | Exhaust Fan (Fire Pump Room) | Yes | Yes
| EF-3.2 | Exhaust Fan (Mech Pump Room) | Yes | Yes
| EF-3.3 | Exhaust Fan (LV Room) | Yes | Yes
| EF-3.4 | Exhaust Fan (MV Room) | Yes | Yes
| EF-3.5 | Exhaust Fan (CEP Tlt) | Yes | Yes
Gravity Ventilators
| GRV-3.1 | Gravity Ventilator (Boiler Room) | Yes | Yes | Sample 1 of 2
| GRV-3.2 | Gravity Ventilator (Boiler Room) | Yes | Yes
| SRV-1.1 | Stairway Gravity Ventilator | Yes | Yes | Sample 2 of 10
| SRV-1.2 | Stairway Gravity Ventilator | Yes | Yes
| SRV-1.3 | Stairway Gravity Ventilator | Yes | Yes
| SRV-1.4 | Stairway Gravity Ventilator | Yes | Yes
| SRV-1.5 | Stairway Gravity Ventilator | Yes | Yes
| SRV-1.6 | Stairway Gravity Ventilator | Yes | Yes
| SRV-1.7 | Stairway Gravity Ventilator | Yes | Yes
| SRV-1.8 | Stairway Gravity Ventilator | Yes | Yes
| SRV-1.9 | Stairway Gravity Ventilator | Yes | Yes
| SRV-1.10 | Stairway Gravity Ventilator | Yes | Yes
Air Terminal Units - AHU 1.1
| VAV-1.1.1 | VAV Terminal with Reheat | Single Pre-functional Checklist for all associated Terminal Units | Single Test Protocolfor all associated Terminal Units | Sample 2 of 25
| VAV-1.1.2 | VAV Terminal with Reheat
| VAV-1.1.3 | VAV Terminal with Reheat
| VAV-1.1.4 | VAV Terminal with Reheat
| VAV-1.1.5 | VAV Terminal with Reheat
| VAV-1.1.6 | VAV Terminal with Reheat
| VAV-1.1.7 | VAV Terminal with Reheat
| VAV-1.1.8 | VAV Terminal with Reheat
| VAV-1.1.9 | VAV Terminal with Reheat
| VAV-1.1.10 | VAV Terminal with Reheat
| VAV-1.1.11 | VAV Terminal with Reheat
| VAV-1.1.12 | VAV Terminal with Reheat
| VAV-1.1.13 | VAV Terminal with Reheat
| VAV-1.1.14 | VAV Terminal with Reheat
| VAV-1.1.15 | VAV Terminal with Reheat
| VAV-1.1.16 | VAV Terminal with Reheat
| VAV-1.1.17 | VAV Terminal with Reheat
| VAV-1.1.18 | VAV Terminal with Reheat
| VAV-1.1.19 | VAV Terminal with Reheat
| VAV-1.1.20 | VAV Terminal with Reheat
| VAV-1.1.21 | VAV Terminal with Reheat
| VAV-1.1.22 | VAV Terminal with Reheat
| VAV-1.1.23 | VAV Terminal with Reheat
| VAV-1.1.24 | VAV Terminal with Reheat
| VAV-1.1.25 | VAV Terminal with Reheat
Air Terminal Units - AHU 1.2
| VAV-1.2.1 | VAV Terminal with Reheat | Single Pre-functional Checklist for all associated Terminal Units | Single Test Protocolfor all associated Terminal Units | Sample 3 of 32
| VAV-1.2.2 | VAV Terminal with Reheat
| VAV-1.2.3 | VAV Terminal with Reheat
| VAV-1.2.4 | VAV Terminal with Reheat
| VAV-1.2.5 | VAV Terminal with Reheat
| VAV-1.2.6 | VAV Terminal with Reheat
| VAV-1.2.7 | VAV Terminal with Reheat
| VAV-1.2.8 | VAV Terminal with Reheat
| VAV-1.2.9 | VAV Terminal with Reheat
| VAV-1.2.10 | VAV Terminal with Reheat
| VAV-1.2.11 | VAV Terminal with Reheat
| VAV-1.2.12 | VAV Terminal with Reheat
| VAV-1.2.13 | VAV Terminal with Reheat
| VAV-1.2.14 | VAV Terminal with Reheat
| VAV-1.2.15 | VAV Terminal with Reheat
| VAV-1.2.16 | VAV Terminal with Reheat
| VAV-1.2.17 | VAV Terminal with Reheat
| VAV-1.2.18 | VAV Terminal with Reheat
| VAV-1.2.19 | VAV Terminal with Reheat
| VAV-1.2.20 | VAV Terminal with Reheat
| VAV-1.2.21 | VAV Terminal with Reheat
| VAV-1.2.22 | VAV Terminal with Reheat
| VAV-1.2.23 | VAV Terminal with Reheat
| VAV-1.2.24 | VAV Terminal with Reheat
| VAV-1.2.25 | VAV Terminal with Reheat
| VAV-1.2.26 | VAV Terminal with Reheat
| VAV-1.2.27 | VAV Terminal with Reheat
| VAV-1.2.28 | VAV Terminal with Reheat
| VAV-1.2.29 | VAV Terminal with Reheat
| VAV-1.2.30 | VAV Terminal with Reheat
| VAV-1.2.31 | VAV Terminal with Reheat
| VAV-1.2.32 | VAV Terminal with Reheat
Air Terminal Units - AHU 1.3
| CAV-1.2.1 | CAV Terminal with Reheat | Single Pre-functional Checklist for all associated Terminal Units | Single Test Protocolfor all associated Terminal Units | Sample 1 of 6
| CAV-1.2.2 | CAV Terminal with Reheat
| CAV-1.2.3 | CAV Terminal with Reheat
| CAV-1.2.4 | CAV Terminal with Reheat
| CAV-1.2.5 | CAV Terminal with Reheat
| CAV-1.2.6 | CAV Terminal with Reheat
Air Terminal Units - AHU 1.4
| VAV-1.4.1 | VAV Terminal with Reheat | Single Pre-functional Checklist for all associated Terminal Units | Single Test Protocolfor all associated Terminal Units | Sample 2 of 25
| VAV-1.4.2 | VAV Terminal with Reheat
| VAV-1.4.3 | VAV Terminal with Reheat
| VAV-1.4.4 | VAV Terminal with Reheat
| VAV-1.4.5 | VAV Terminal with Reheat
| VAV-1.4.6 | VAV Terminal with Reheat
| VAV-1.4.7 | VAV Terminal with Reheat
| VAV-1.4.8 | VAV Terminal with Reheat
| VAV-1.4.9 | VAV Terminal with Reheat
| VAV-1.4.10 | VAV Terminal with Reheat
| VAV-1.4.11 | VAV Terminal with Reheat
| VAV-1.4.12 | VAV Terminal with Reheat
| VAV-1.4.13 | VAV Terminal with Reheat
| VAV-1.4.14 | VAV Terminal with Reheat
| VAV-1.4.15 | VAV Terminal with Reheat
| VAV-1.4.16 | VAV Terminal with Reheat
| VAV-1.4.17 | VAV Terminal with Reheat
| VAV-1.4.18 | VAV Terminal with Reheat
| VAV-1.4.19 | VAV Terminal with Reheat
| VAV-1.4.20 | VAV Terminal with Reheat
| VAV-1.4.21 | VAV Terminal with Reheat
| VAV-1.4.22 | VAV Terminal with Reheat
| VAV-1.4.23 | VAV Terminal with Reheat
| VAV-1.4.24 | VAV Terminal with Reheat
| VAV-1.4.25 | VAV Terminal with Reheat
Air Terminal Units - AHU 1.5
| VAV-1.5.1 | VAV Terminal with Reheat | Single Pre-functional Checklist for all associated Terminal Units | Single Test Protocolfor all associated Terminal Units | Sample 3 of 30
| VAV-1.5.2 | VAV Terminal with Reheat
| VAV-1.5.3 | VAV Terminal with Reheat
| VAV-1.5.4 | VAV Terminal with Reheat
| VAV-1.5.5 | VAV Terminal with Reheat
| VAV-1.5.6 | VAV Terminal with Reheat
| VAV-1.5.7 | VAV Terminal with Reheat
| VAV-1.5.8 | VAV Terminal with Reheat
| VAV-1.5.9 | VAV Terminal with Reheat
| VAV-1.5.10 | VAV Terminal with Reheat
| VAV-1.5.11 | VAV Terminal with Reheat
| VAV-1.5.12 | VAV Terminal with Reheat
| VAV-1.5.13 | VAV Terminal with Reheat
| VAV-1.5.14 | VAV Terminal with Reheat
| VAV-1.5.15 | VAV Terminal with Reheat
| VAV-1.5.16 | VAV Terminal with Reheat
| VAV-1.5.17 | VAV Terminal with Reheat
| VAV-1.5.18 | VAV Terminal with Reheat
| VAV-1.5.19 | VAV Terminal with Reheat
| VAV-1.5.20 | VAV Terminal with Reheat
| VAV-1.5.21 | VAV Terminal with Reheat
| VAV-1.5.22 | VAV Terminal with Reheat
| VAV-1.5.23 | VAV Terminal with Reheat
| VAV-1.5.24 | VAV Terminal with Reheat
| VAV-1.5.25 | VAV Terminal with Reheat
| VAV-1.5.26 | VAV Terminal with Reheat
| VAV-1.5.27 | VAV Terminal with Reheat
| VAV-1.5.28 | VAV Terminal with Reheat
| VAV-1.5.29 | VAV Terminal with Reheat
| VAV-1.5.30 | VAV Terminal with Reheat
Air Terminal Units - AHU 2.1
Air Terminal Units - AHU 2.2
| CAV-2.2.1 | CAV Terminal with Reheat | Single Pre-functional Checklist for all associated Terminal Units | Single Test Protocolfor all associated Terminal Units | Sample 1 of 8
| CAV-2.2.2 | CAV Terminal with Reheat
| CAV-2.2.3 | CAV Terminal with Reheat
| CAV-2.2.4 | CAV Terminal with Reheat
| CAV-2.2.5 | CAV Terminal with Reheat
| CAV-2.2.6 | CAV Terminal with Reheat
| CAV-2.2.7 | CAV Terminal with Reheat
| CAV-2.2.8 | CAV Terminal with Reheat
Air Terminal Units - AHU 2.3
| CAV-2.3.1 | CAV Terminal with Reheat | Single Pre-functional Checklist | Single Test Protocol | Sample 1 of 4
| CAV-2.3.2 | CAV Terminal with Reheat
| CAV-2.3.3 | CAV Terminal with Reheat
| CAV-2.3.4 | CAV Terminal with Reheat
Air Terminal Units - AHU 2.4
| CAV-2.4.1 | CAV Terminal with Reheat | Single Pre-functional Checklist for all associated Terminal Units | Single Test Protocolfor all associated Terminal Units | Sample 2 of 25
| CAV-2.4.2 | CAV Terminal with Reheat
| CAV-2.4.3 | CAV Terminal with Reheat
| CAV-2.4.4 | CAV Terminal with Reheat
| CAV-2.4.5 | CAV Terminal with Reheat
| CAV-2.4.6 | CAV Terminal with Reheat
| CAV-2.4.7 | CAV Terminal with Reheat
| CAV-2.4.8 | CAV Terminal with Reheat
| CAV-2.4.9 | CAV Terminal with Reheat
| CAV-2.4.10 | CAV Terminal with Reheat
| CAV-2.4.11 | CAV Terminal with Reheat
| CAV-2.4.12 | CAV Terminal with Reheat
| CAV-2.4.13 | CAV Terminal with Reheat
| CAV-2.4.14 | CAV Terminal with Reheat
| CAV-2.4.15 | CAV Terminal with Reheat
| CAV-2.4.16 | CAV Terminal with Reheat
| CAV-2.4.17 | CAV Terminal with Reheat
| CAV-2.4.18 | CAV Terminal with Reheat
| CAV-2.4.19 | CAV Terminal with Reheat
| CAV-2.4.20 | CAV Terminal with Reheat
| CAV-2.4.21 | CAV Terminal with Reheat
| CAV-2.4.22 | CAV Terminal with Reheat
| CAV-2.4.23 | CAV Terminal with Reheat
| CAV-2.4.24 | CAV Terminal with Reheat
| CAV-2.4.25 | CAV Terminal with Reheat
Air Terminal Units - AHU 2.5
| CAV-2.5.1 | CAV Terminal with Reheat | Single Pre-functional Checklist for all associated Terminal Units | Single Test Protocolfor all associated Terminal Units | Sample 2 of 23
| CAV-2.5.2 | CAV Terminal with Reheat
| CAV-2.5.3 | CAV Terminal with Reheat
| CAV-2.5.4 | CAV Terminal with Reheat
| CAV-2.5.5 | CAV Terminal with Reheat
| CAV-2.5.6 | CAV Terminal with Reheat
| CAV-2.5.7 | CAV Terminal with Reheat
| CAV-2.5.8 | CAV Terminal with Reheat
| CAV-2.5.9 | CAV Terminal with Reheat
| CAV-2.5.10 | CAV Terminal with Reheat
| CAV-2.5.11 | CAV Terminal with Reheat
| CAV-2.5.12 | CAV Terminal with Reheat
| CAV-2.5.13 | CAV Terminal with Reheat
| CAV-2.5.14 | CAV Terminal with Reheat
| CAV-2.5.15 | CAV Terminal with Reheat
| CAV-2.5.16 | CAV Terminal with Reheat
| CAV-2.5.17 | CAV Terminal with Reheat
| CAV-2.5.18 | CAV Terminal with Reheat
| CAV-2.5.19 | CAV Terminal with Reheat
| CAV-2.5.20 | CAV Terminal with Reheat
| CAV-2.5.21 | CAV Terminal with Reheat
| CAV-2.5.22 | CAV Terminal with Reheat
| CAV-2.5.23 | CAV Terminal with Reheat
Air Terminal Units - AHU 2.6
| VAV-2.6.1 | VAV Terminal with Reheat | Single Pre-functional Checklist for all associated Terminal Units | Single Test Protocolfor all associated Terminal Units | Sample 3 of 27
| VAV-2.6.2 | VAV Terminal with Reheat
| VAV-2.6.3 | VAV Terminal with Reheat
| VAV-2.6.4 | VAV Terminal with Reheat
| VAV-2.6.5 | VAV Terminal with Reheat
| VAV-2.6.6 | VAV Terminal with Reheat
| VAV-2.6.7 | VAV Terminal with Reheat
| VAV-2.6.8 | VAV Terminal with Reheat
| VAV-2.6.9 | VAV Terminal with Reheat
| VAV-2.6.10 | VAV Terminal with Reheat
| VAV-2.6.11 | VAV Terminal with Reheat
| VAV-2.6.12 | VAV Terminal with Reheat
| VAV-2.6.13 | VAV Terminal with Reheat
| VAV-2.6.14 | VAV Terminal with Reheat
| VAV-2.6.15 | VAV Terminal with Reheat
| VAV-2.6.16 | VAV Terminal with Reheat
| VAV-2.6.17 | VAV Terminal with Reheat
| VAV-2.6.18 | VAV Terminal with Reheat
| VAV-2.6.19 | VAV Terminal with Reheat
| VAV-2.6.20 | VAV Terminal with Reheat
| VAV-2.6.21 | VAV Terminal with Reheat
| VAV-2.6.22 | VAV Terminal with Reheat
| VAV-2.6.23 | VAV Terminal with Reheat
| VAV-2.6.24 | VAV Terminal with Reheat
| VAV-2.6.25 | VAV Terminal with Reheat
| VAV-2.6.26 | VAV Terminal with Reheat
| VAV-2.6.27 | VAV Terminal with Reheat
Air Terminal Units - AHU 2.7
| VAV-2.7.1 | VAV Terminal with Reheat | Single Pre-functional Checklist for all associated Terminal Units | Single Test Protocolfor all associated Terminal Units | Sample 3 of 34
| VAV-2.7.2 | VAV Terminal with Reheat
| VAV-2.7.3 | VAV Terminal with Reheat
| VAV-2.7.4 | VAV Terminal with Reheat
| VAV-2.7.5 | VAV Terminal with Reheat
| VAV-2.7.6 | VAV Terminal with Reheat
| VAV-2.7.7 | VAV Terminal with Reheat
| VAV-2.7.8 | VAV Terminal with Reheat
| VAV-2.7.9 | VAV Terminal with Reheat
| VAV-2.7.10 | VAV Terminal with Reheat
| VAV-2.7.11 | VAV Terminal with Reheat
| VAV-2.7.12 | VAV Terminal with Reheat
| VAV-2.7.13 | VAV Terminal with Reheat
| VAV-2.7.14 | VAV Terminal with Reheat
| VAV-2.7.15 | VAV Terminal with Reheat
| VAV-2.7.16 | VAV Terminal with Reheat
| VAV-2.7.17 | VAV Terminal with Reheat
| VAV-2.7.18 | VAV Terminal with Reheat
| VAV-2.7.19 | VAV Terminal with Reheat
| VAV-2.7.20 | VAV Terminal with Reheat
| VAV-2.7.21 | VAV Terminal with Reheat
| VAV-2.7.22 | VAV Terminal with Reheat
| VAV-2.7.23 | VAV Terminal with Reheat
| VAV-2.7.24 | VAV Terminal with Reheat
| VAV-2.7.25 | VAV Terminal with Reheat
| VAV-2.7.26 | VAV Terminal with Reheat
| VAV-2.7.27 | VAV Terminal with Reheat
| VAV-2.7.28 | VAV Terminal with Reheat
| VAV-2.7.29 | VAV Terminal with Reheat
| VAV-2.7.30 | VAV Terminal with Reheat
| VAV-2.7.31 | VAV Terminal with Reheat
| VAV-2.7.32 | VAV Terminal with Reheat
| VAV-2.7.33 | VAV Terminal with Reheat
| VAV-2.7.34 | VAV Terminal with Reheat
Fan Coil Units
| FCU-A | Fan Coil Unit - Heating/Cooling Coils | Single Pre-functional Checklist | Single Test Protocol | Sample 1 of 5
| FCU-B | Fan Coil Unit - Heating/Cooling Coils
| FCU-C | Fan Coil Unit - Heating/Cooling Coils
| FCU-D | Fan Coil Unit - Heating/Cooling Coils
| FCU-E | Fan Coil Unit - Heating/Cooling Coils
Unit Heaters
| UH-A | Unit Heater | Single Pre-functional Checklist | Single Test Protocol | Sample 1 of 3
| UH-B | Unit Heater
| UH-C | Unit Heater
Radiators
| A | Finned Tube Radiators | No | No | 0
| B | Ceiling Panel | No | No | 0
Computer Room Air Conditioning Unit
| CAC-1 | CRAC w/Reheat, w/Humidifier (Phone Switch) | Yes | Yes | 1
| CAC-2 | CRAC w/Reheat, w/Humidifier (Computer Server) | Yes | Yes | 1
Energy Management System
|  | Panels | Single Pre-functional Checklist | Single Test Protocol | All | EMCS Test
|  | Points List |  |  | 10% | EMCS Test
|  | Final Control Devices |  |  | Selected | with System Controlled
|  | Sensors |  |  | 10% | with System Controlled
|  | Graphics |  |  | All | EMCS Test
|  | Control Sequences |  |  | All | with System Controlled
|  | Trending |  |  | Selected | with System Controlled

## Plumbing
Systems to be Commissioned
Level | Equip Tag | System | Pre-Functional Checklist | Functional Test Protocol | Sample Size | Notes
Plumbing Systems
| Domestic Water Distribution |  | No | Yes | System-level Test
| PB-C.1 | Pressure Booster Pump | Yes | No
| ET-C.1 | Expansion Tank (Domestic Water) | No | No
| WM-C.1 | Water Meter | No | No
| Domestic Hot Water Distribution |  | No | Yes | System-level Test
| WH-C.1 | Oil Water Heater | Yes | No
| WH-C.2 | Oil Water Heater | Yes | No
| MX-C.1 | Mixing Valve | No | No
| RP-C.1 | Domestic Water Recirculation Pump | No | No
| RP-C.2 | Domestic Water Recirculation Pump | No | No
Backflow Preventors
| BFP-C.1 | Backflow Preventer (Reduced Pressure) | Yes | Yes | 100%
| BFP-C.3 | Backflow Preventer (Reduced Pressure) | Yes | Yes
| BFP-C.4 | Backflow Preventer (Reduced Pressure) | Yes | Yes
| BFP-C.5 | Backflow Preventer (Reduced Pressure) | Yes | Yes
| BFP-0.1 | Backflow Preventer (Double Check) | Yes | Yes | Sample 2 of 18
| BFP-0.2 | Backflow Preventer (Double Check) | Yes | Yes
| BFP-0.3 | Backflow Preventer (Double Check) | Yes | Yes
| BFP-0.4 | Backflow Preventer (Double Check) | Yes | Yes
| BFP-0.5 | Backflow Preventer (Double Check) | Yes | Yes
| BFP-1.1 | Backflow Preventer (Double Check) | Yes | Yes
| BFP-1.2 | Backflow Preventer (Double Check) | Yes | Yes
| BFP-1.3 | Backflow Preventer (Double Check) | Yes | Yes
| BFP-1.4 | Backflow Preventer (Double Check) | Yes | Yes
| BFP-1.5 | Backflow Preventer (Double Check) | Yes | Yes
| BFP-1.6 | Backflow Preventer (Double Check) | Yes | Yes
| BFP-1.7 | Backflow Preventer (Double Check) | Yes | Yes
| BFP-1.8 | Backflow Preventer (Double Check) | Yes | Yes
| BFP-2.1 | Backflow Preventer (Double Check) | Yes | Yes
| BFP-2.2 | Backflow Preventer (Double Check) | Yes | Yes
| BFP-2.3 | Backflow Preventer (Double Check) | Yes | Yes
| BFP-2.4 | Backflow Preventer (Double Check) | Yes | Yes
Sump Pump
| SP-0.1 | Sump Pump | Yes | Yes | 100%
| SP-0.2 | Sump Pump | Yes | Yes | 100%
| Medical Clinical Systems |  |  |  |  | NAVFAC
| MA-0.1 | Medical Air Compressor (Dessicant dryer) |  |  |  | NAVFAC
| MV-0.1 | Medical Vacuum Pump |  |  |  | NAVFAC
| WAG-0.1 | Waste Anesthetizing Gas Evacuation Pump |  |  |  | NAVFAC
| OX-0.1 | Oxygen Manifold |  |  |  | NAVFAC
| NI-0.1 | Nitrogen Manifold |  |  |  | NAVFAC
| NO-0.1 | Nitrous Oxide Manifold |  |  |  | NAVFAC
| MQP-1.1 | Medical Equipment Remote Control Panel |  |  |  | NAVFAC
| MQP-1.2 | Medical Equipment Remote Control Panel |  |  |  | NAVFAC
| MMP-0.1 | Medical Gas Master Alarm Panel (Emergency Manager) |  |  |  | NAVFAC
| MMP-0.2 | Medical Gas Master Alarm Panel (Chief Maint) |  |  |  | NAVFAC
| MAP-1.1 | Medical Gas Area Alarm Panel (Nurse Sta 1G24) |  |  |  | NAVFAC
| MAP-1.2 | Medical Gas Area Alarm Panel (Nurse Sta 1G24) |  |  |  | NAVFAC
| MAP-1.3 | Medical Gas Area Alarm Panel (Nurse Sta 1G24) |  |  |  | NAVFAC
| MAP-1.4 | Medical Gas Area Alarm Panel (Nurse Sta 1H28) |  |  |  | NAVFAC
| MAP-1.5 | Medical Gas Area Alarm Panel (Corr 1H14) |  |  |  | NAVFAC
| MAP-1.6 | Medical Gas Area Alarm Panel (Corr 1H14) |  |  |  | NAVFAC
| MAP-1.7 | Medical Gas Area Alarm Panel (Corr 1H51) |  |  |  | NAVFAC
| MVB-0.1 | Medical Gas Zone Valve Box (0B02) |  |  |  | NAVFAC
| MVB-1.1 | Medical Gas Zone Valve Box (1G21) |  |  |  | NAVFAC
| MVB-1.2 | Medical Gas Zone Valve Box (1G09) |  |  |  | NAVFAC
| MVB-1.3 | Medical Gas Zone Valve Box (1G09) |  |  |  | NAVFAC
| MVB-1.4 | Medical Gas Zone Valve Box (1H07) |  |  |  | NAVFAC
| MVB-1.5 | Medical Gas Zone Valve Box (1H14) |  |  |  | NAVFAC
| MVB-1.6 | Medical Gas Zone Valve Box (1H14) |  |  |  | NAVFAC
| MVB-1.7 | Medical Gas Zone Valve Box (1H51) |  |  |  | NAVFAC
| MVB-1.8 | Medical Gas Zone Valve Box (1A19) |  |  |  | NAVFAC
| MVB-1.9 | Medical Gas Zone Valve Box (1B21) |  |  |  | NAVFAC
| MVB-2.0 | Medical Gas Zone Valve Box (1B21) |  |  |  | NAVFAC
| Dental Clinical Systems |  |  |  |  | NAVFAC
| DA-0.1 | Dental Air Compressor (Dessicant Dryer) |  |  |  | NAVFAC
| OE-0.1 | Oral Evacuation Unit |  |  |  | NAVFAC
| OE-0.2 | Oral Evacuation Unit |  |  |  | NAVFAC
| OE-0.3 | Oral Evacuation Unit |  |  |  | NAVFAC
| T-0.1 | Separator |  |  |  | NAVFAC
| T-0.1 | Separator |  |  |  | NAVFAC

## Fire-LS
Systems to be Commissioned
Level | Equip Tag | System | Pre-Functional Checklist | Functional Test Protocol | Sample Size | Notes
Fire & Life Safety Systems
Fire Protection
| FP-1 | Fire Pump (Lag) |  |  |  | NAVFAC
|  | Fire Pump Controller |  |  |  | NAVFAC
| FP-2 | Fire Pump (Lead) |  |  |  | NAVFAC
|  | Fire Pump Controller |  |  |  | NAVFAC
| JP-1 | Jockey Pump |  |  |  | NAVFAC
|  | Jockey Pump Controller |  |  |  | NAVFAC
| BFP-FP.1 | Backflow Preventer |  |  |  | NAVFAC
| Fire Detection and Notification |  |  |  | System-Level Test
| FACP | Fire Alarm Control Panel |  |  |  | NAVFAC
| FAAP-1 | Fire Alarm Annunciator Panel |  |  |  | NAVFAC
| FAAP-2 | Fire Alarm Annunciator Panel |  |  |  | NAVFAC
| FAAP-3 | Fire Alarm Annunciator Panel |  |  |  | NAVFAC
| FADC | Fire Alarm Digital Communicator |  |  |  | NAVFAC

## Electric
Systems to be Commissioned
Level | Equip Tag | System | Pre-Functional Checklist | Functional Test Protocol | Sample Size | Notes
Electrical Systems
MV Switch Station A
| SWA-1 | MV Selector Switch | Yes | Yes | 100% | 3rd Party Test
| SWA-2 | MV Selector Switch | Yes | Yes | 100% | 3rd Party Test
| SWA-3 | MV Selector Switch | Yes | Yes | 100% | 3rd Party Test
MV Switch Station B
| SWB-1 | MV Selector Switch | Yes | Yes | 100% | 3rd Party Test
| SWB-2 | MV Selector Switch | Yes | Yes | 100% | 3rd Party Test
| SWB-3 | MV Selector Switch | Yes | Yes | 100% | 3rd Party Test
Electric Service Equipment
| SW1 | MV Selector Switch | Yes | Yes | 100% | 3rd Party Test
| SW2 | MV Selector Switch | Yes | Yes | 100%
| SW3 | MV Selector Switch | Yes | Yes | 100%
| SW4 | MV Selector Switch | Yes | Yes | 100%
| SW5 | MV Selector Switch | Yes | Yes | 100%
| SW6 | MV Selector Switch | Yes | Yes | 100%
| CEPNSWB | Double-Ended Substation (380v, 3000A) | Yes | Yes | System-Level Test
| MT-1 | MV Transformer
| MT-2 | MV Transformer
| ATS-FP1 | Feeder Tap Without Circuit Breaker
| ATS-FP2 | Feeder Tap Without Circuit Breaker
Main Circuit Breaker, Electronic Trip
Electronic Power Meter
Main Circuit Breaker, Electronic Trip
Electronic Power Meter
Tie-Circuit Breaker
| CEPN1 | Electronic Trip Circuit Breaker (400A and above)
| CEPM1 | Electronic Trip Circuit Breaker (400A and above)
| CH-3 | Electronic Trip Circuit Breaker (400A and above)
| CEPM2 | Electronic Trip Circuit Breaker (400A and above)
| ATS-EQ3 | Electronic Trip Circuit Breaker (400A and above)
| ATS-LS2 | Electronic Trip Circuit Breaker (400A and above)
| ATS-CR3 | Electronic Trip Circuit Breaker (400A and above)
| ATS-EQ4 | Electronic Trip Circuit Breaker (400A and above)
| NSWBD2 | Electronic Trip Circuit Breaker (400A and above)
| NSWBD1 | Electronic Trip Circuit Breaker (400A and above)
| SS1 | Thermal Magnetic Circuit Breaker
| SS2 | Thermal Magnetic Circuit Breaker
Equipped Space
TVSS
TVSS
Normal Electrical Distribution Switchboard NSWBD1
| NSWBD1 | Switchboard (1600A) | Yes | Yes | System-Level Test
|  | Main Electronic Trip Circuit Breaker (400A and above) |  |  |  | 3rd Party Test
| NDP1 | Electronic Trip Circuit Breaker (400A and above) |  |  |  | 3rd Party Test
| NDP2 | Electronic Trip Circuit Breaker (400A and above) |  |  |  | 3rd Party Test
| CB1 | Thermal Magnetic Circuit Breaker
| SS4 | Thermal Magnetic Circuit Breaker
TVSS
Normal Electrical Distribution Switchboard NSWBD2
| NSWBD2 | Switchboard (1600A) |  | Yes | System-Level Test
|  | Main Electronic Trip Circuit Breaker (400A and above) |  |  |  | 3rd Party Test
| ATS-EQ1 | Electronic Trip Circuit Breaker (400A and above)
| ATS-CR1 | Electronic Trip Circuit Breaker (400A and above)
| ATS-CR2 | Electronic Trip Circuit Breaker (400A and above)
| ATS-EQ2 | Electronic Trip Circuit Breaker (under 400A)
| ATS-LS1 | Electronic Trip Circuit Breaker (under 400A)
| SS5 | Thermal Magnetic Circuit Breaker
TVSS
Normal Electrical Distribution Switchboard NDP1
| NDP1 | Switchboard (800A) | Yes | Yes | System-Level Test
|  | Main Electronic Trip Circuit Breaker (400A and above) |  |  |  | 3rd Party Test
| F1N1 | Thermal Magnetic Circuit Breaker
| F1N2 | Thermal Magnetic Circuit Breaker
| G1N1 | Thermal Magnetic Circuit Breaker
| G1N2 | Thermal Magnetic Circuit Breaker
| G1N3 | Thermal Magnetic Circuit Breaker
| F2N1 | Thermal Magnetic Circuit Breaker
| F1N1 | Thermal Magnetic Circuit Breaker
| G2N1 | Thermal Magnetic Circuit Breaker
| G2N2 | Thermal Magnetic Circuit Breaker
| D3N1 | Thermal Magnetic Circuit Breaker
Normal Electrical Distribution Switchboard NDP2
| NDP2 | Switchboard (1250A) | Yes | Yes | System-Level Test
|  | Main Electronic Trip Circuit Breaker (400A and above) |  |  |  | 3rd Party Test
| A1N1 | Thermal Magnetic Circuit Breaker
| A1N2 | Thermal Magnetic Circuit Breaker
| A1N3 | Thermal Magnetic Circuit Breaker
| C1N1 | Thermal Magnetic Circuit Breaker
| C1N2 | Thermal Magnetic Circuit Breaker
| C1N3 | Thermal Magnetic Circuit Breaker
| A2N1 | Thermal Magnetic Circuit Breaker
| A2N2 | Thermal Magnetic Circuit Breaker
| A2N3 | Thermal Magnetic Circuit Breaker
| A2N4 | Thermal Magnetic Circuit Breaker
| C2N1 | Thermal Magnetic Circuit Breaker
| C2N2 | Thermal Magnetic Circuit Breaker
| C2N3 | Thermal Magnetic Circuit Breaker
| A3N1 | Thermal Magnetic Circuit Breaker
| B3N1 | Thermal Magnetic Circuit Breaker
| C3N1 | Thermal Magnetic Circuit Breaker
Emergency Generator System
| GEN-1 | Emergency Generator, Diesel Power (450KW) | Yes | Yes | 100% | 3rd Party Test
| GEN-2 | Emergency Generator, Diesel Power (450KW) | Yes | Yes | 100% | 3rd Party Test
| EMSWBD | Generator Paralleling Switchboard | Yes | Yes | System-Level Test | 3rd Party Test
| GEN-1 | Electronic Trip Circuit Breaker (400A and above)
| GEN-1 | Electronic Trip Circuit Breaker (400A and above)
| ESSWBD | Electronic Trip Circuit Breaker (400A and above)
| ESSWBD | Electronic Trip Circuit Breaker (400A and above)
| ATS-EQ3 | Electronic Trip Circuit Breaker (under 400A)
| ATS-LS1 | Electronic Trip Circuit Breaker (under 400A)
| ATS-CR3 | Electronic Trip Circuit Breaker (under 400A)
| ATS-EQ4 | Electronic Trip Circuit Breaker (400A and above)
| ATS-FP1 | Electronic Trip Circuit Breaker (under 400A)
| ATS-FP2 | Electronic Trip Circuit Breaker (under 400A)
| SS8 | Thermal Magnetic Circuit Breaker
TVSS
Emergency Distribution Switchboard ESSSWBD
| ESSSWBD | Double-Ended Switchboard (1250A) | Yes | Yes | System-Level Test
|  | Main Electronic Trip Circuit Breaker (400A and above) |  |  |  | 3rd Party Test
|  | Main Electronic Trip Circuit Breaker (400A and above) |  |  |  | 3rd Party Test
| ATS-EQ1 | Electronic Trip Circuit Breaker (400A and above)
| ATS-EQ2 | Electronic Trip Circuit Breaker (under 400A)
| ATS-LS1 | Electronic Trip Circuit Breaker (under 400A)
| ATS-CR1 | Electronic Trip Circuit Breaker (400A and above)
| ATS-CR2 | Electronic Trip Circuit Breaker (400A and above)
| SS11 | Thermal Magnetic Circuit Breaker
Automatic Transfer Switches
| ATS-CR1 | Automatic Transfer Switch, Isolation-Bypass | Yes | Yes | 100% | 3rd Party Test
| ATS-CR2 | Automatic Transfer Switch, Isolation-Bypass | Yes | Yes | 100% | 3rd Party Test
| ATS-CR3 | Automatic Transfer Switch, Isolation-Bypass | Yes | Yes | 100% | 3rd Party Test
| ATS-LS1 | Automatic Transfer Switch, Isolation-Bypass | Yes | Yes | 100% | 3rd Party Test
| ATS-LS2 | Automatic Transfer Switch, Isolation-Bypass | Yes | Yes | 100% | 3rd Party Test
| ATS-EQ1 | Automatic Transfer Switch, Isolation-Bypass (Center Off) | Yes | Yes | 100% | 3rd Party Test
| ATS-EQ2 | Automatic Transfer Switch, Isolation-Bypass (Center Off) | Yes | Yes | 100% | 3rd Party Test
| ATS-EQ3 | Automatic Transfer Switch, Isolation-Bypass | Yes | Yes | 100% | 3rd Party Test
| ATS-EQ4 | Automatic Transfer Switch, Isolation-Bypass (Center Off) | Yes | Yes | 100% | 3rd Party Test
| ATS-FP1 | Automatic Transfer Switch, Isolation-Bypass | Yes | Yes | 100% | 3rd Party Test
| ATS-FP2 | Automatic Transfer Switch, Isolation-Bypass | Yes | Yes | 100% | 3rd Party Test
Life Safety Distribution Switchboard LSDP1
| LSDP1 | Distribution Switchboard (160A) (via ATS-LS1) | Yes | Yes | System-Level Test
Main Electronic Trip Circuit Breaker (under 400A)
| F1LS1 | Thermal Magnetic Circuit Breaker
| A1LS1 | Thermal Magnetic Circuit Breaker
| F2LS1 | Thermal Magnetic Circuit Breaker
| A2LS1 | Thermal Magnetic Circuit Breaker
| G1LS1 | Thermal Magnetic Circuit Breaker
| F2LS2 | Thermal Magnetic Circuit Breaker
Life Safety Distribution Panel CEPLS1
| CEPLS1 | Panelboard (100A) (via ATS-LS2) | Yes | Yes | 100%
Critical Distribution Switchboard CRDP1
| CRDP1 | Distribution Switchboard (800A) (via ATS-CR1) | Yes | Yes | System-Level Tes
|  | Main Electronic Trip Circuit Breaker (400A and above) |  |  |  | 3rd Party Test
| F1CR1 | Thermal Magnetic Circuit Breaker
| G1CR1 | Thermal Magnetic Circuit Breaker
| A1CR1 | Thermal Magnetic Circuit Breaker
| A1CR2 | Thermal Magnetic Circuit Breaker
| C1CR1 | Thermal Magnetic Circuit Breaker
| F2CR1 | Thermal Magnetic Circuit Breaker
| G2CR1 | Thermal Magnetic Circuit Breaker
| A2CR1 | Thermal Magnetic Circuit Breaker
| G2CR4 | Thermal Magnetic Circuit Breaker
| C2CR1 | Thermal Magnetic Circuit Breaker
| UPS1 | Thermal Magnetic Circuit Breaker
Uninterruptible Power System UPS1
| UPS1 | Uninterruptible Power System | No | Yes | System-Level Test
| UPS-1 | UPS (30KVA) | Yes | Yes
| ORA | Isolation Panel with Line Isolation Monitor (5KVA) | Yes | Yes
| CSA | Isolation Panel with Line Isolation Monitor (5KVA) | Yes | Yes
Critical Distribution Switchboard CRDP2
| CRDP2 | Distribution Switchboard (800A) (via ATS-CR2) | Yes | Yes | System-Level Test
|  | Main Electronic Trip Circuit Breaker (400A and above) |  |  |  | 3rd Party Test
| G2CR2 | Thermal Magnetic Circuit Breaker
| G2CR3 | Thermal Magnetic Circuit Breaker
| UPS2 | Thermal Magnetic Circuit Breaker
Uninterruptible Power System UPS2
| UPS2 | Uninterruptible Power System | No | Yes | System-Level Test
| UPS-2 | UPS (30KVA) | Yes | Yes
| ORB | Isolation Panel with Line Isolation Monitor (5KVA) | Yes | Yes
| CSB | Isolation Panel with Line Isolation Monitor (5KVA) | Yes | Yes
Critical Distribution Panelboard DEPCR1
| CEPCR1 | Panelboard (100A) (via ATS-CR3) | Yes | Yes | 100%
Equipment Distribution Switchboard EQDP1
| EQDP1 | Distribution Switchboard (630A) (via ATS-EQ1) | Yes | Yes | System-Level Test
|  | Main Electronic Trip Circuit Breaker (400A and above) |  |  |  | 3rd Party Test
| F1EQ1 | Thermal Magnetic Circuit Breaker
| F2EQ1 | Thermal Magnetic Circuit Breaker
| C3EQ1 | Thermal Magnetic Circuit Breaker
| C3EQ2 | Thermal Magnetic Circuit Breaker
| D3EQ1 | Thermal Magnetic Circuit Breaker
| Elev 3/4 pwr | Thermal Magnetic Circuit Breaker
| Elev 3/4 lts | Thermal Magnetic Circuit Breaker
| Rad/Fluor | Thermal Magnetic Circuit Breaker, shunt trip
Equipment Distribution Switchboard EQDP2
| EQDP2 | Distribution Switchboard (630A) (via ATS-EQ2) | Yes | Yes | System-Level Test
|  | Main Electronic Trip Circuit Breaker (400A and above) |  |  |  | 3rd Party Test
| A1EQ1 | Thermal Magnetic Circuit Breaker
| A2EQ1 | Thermal Magnetic Circuit Breaker
| A3EQ1 | Thermal Magnetic Circuit Breaker
| B3EQ1 | Thermal Magnetic Circuit Breaker
| Elev 1/2 pwr | Thermal Magnetic Circuit Breaker
| Elev 1/2 lts | Thermal Magnetic Circuit Breaker
| G2EQ1 | Thermal Magnetic Circuit Breaker
| CAC-1 | Thermal Magnetic Circuit Breaker
Equipment Distribution Panelboard CEPEQ1
| CEPEQ1 | Distribution Panel (360A) (via ATS-EQ3) | Yes | Yes | 100%
Equipment Distribution Switchboard CEPEQ2
| CEPEQ2 | Distribution Switchboard (1250A) (via ATS-EQ4) | Yes | Yes | System-Level Test
|  | Main Electronic Trip Circuit Breaker (400A and above) |  |  |  | 3rd Party Test
| CH-1 | Thermal Magnetic Circuit Breaker (400a and above)
| CH-2 | Thermal Magnetic Circuit Breaker (400a and above)
| CEPEQ3 | Thermal Magnetic Circuit Breaker, shunt trip
| SS10 | Thermal Magnetic Circuit Breaker

## Other Syst
Systems to be Commissioned
Level | Equip Tag | System | Pre-Functional Checklist | Functional Test Protocol | Sample Size | Notes
Other Systems
Comm/Data Network System
| 0G04 | Telecom Entrance Facility (MDF) |  |  |  | NAVFAC
| 1F21 | Telecom Room (IDF) |  |  |  | NAVFAC
| 0H11 | Telecom Server Room (IDF) |  |  |  | NAVFAC
| 0F17 | Telecom Room (IDF) |  |  |  | NAVFAC
| 1H12 | Telecom Room (IDF) |  |  |  | NAVFAC
| 1F24 | Telecom Room (IDF) |  |  |  | NAVFAC
| 0B66 | Telecom Room (IDF) |  |  |  | NAVFAC
| 0A27 | Telecom Room (IDF) |  |  |  | NAVFAC
| 0J06 | Telecom Room (IDF) |  |  |  | NAVFAC
| 1B46 | Telecom Room (IDF) |  |  |  | NAVFAC
| 1A27 | Telecom Room (IDF) |  |  |  | NAVFAC
CATV System
| TO-1 | CATV Multi-Tap Device (Rm 0H11) |  |  |  | NAVFAC
| TO-2 | CATV Multi-Tap Device (Rm 0H11) |  |  |  | NAVFAC
| TO-3 | CATV Multi-Tap Device (Rm 0B66) |  |  |  | NAVFAC
| TO-4 | CATV Multi-Tap Device (Rm 0B66) |  |  |  | NAVFAC
| TO-5 | CATV Multi-Tap Device (Rm 1H12) |  |  |  | NAVFAC
| TO-6 | CATV Multi-Tap Device (Rm 1H12) |  |  |  | NAVFAC
| TO-7 | CATV Multi-Tap Device (Rm 1H12) |  |  |  | NAVFAC
| TO-8 | CATV Multi-Tap Device (Rm 1H12) |  |  |  | NAVFAC
| TO-9 | CATV Multi-Tap Device (Rm 1B46) |  |  |  | NAVFAC
| TO-10 | CATV Multi-Tap Device (Rm 1B46) |  |  |  | NAVFAC
| TO-11 | CATV Multi-Tap Device (Rm 1B46) |  |  |  | NAVFAC
| TO-12 | CATV Multi-Tap Device (Rm 1A27) |  |  |  | NAVFAC
Electronic Access Control and Intrusion Detection System
| ACER-1 | Electronic Access Control System Head End (Rm 1F13) |  |  |  | NAVFAC
| ACEC-1A | Access Control Equipment Cabinet (Rm 0F17) |  |  |  | NAVFAC
| ACEC-1F | Access Control Equipment Cabinet (Rm 0A27) |  |  |  | NAVFAC
| ACEC-2A | Access Control Equipment Cabinet (Rm 1A27) |  |  |  | NAVFAC
| ACEC-2F | Access Control Equipment Cabinet (Rm 1F24) |  |  |  | NAVFAC
Paging/Public Address System
| PAER-1 | Public Address Equipment Rack |  |  |  | NAVFAC
| PAEC-1 | Public Address Equipment Cabinet |  |  |  | NAVFAC
| PAEC-2 | Public Address Equipment Cabinet |  |  |  | NAVFAC
| PAEC-3 | Public Address Equipment Cabinet |  |  |  | NAVFAC
| PAEC-4 | Public Address Equipment Cabinet |  |  |  | NAVFAC
| PAEC-CR | Public Address Equipment Cabinet |  |  |  | NAVFAC
| PAEC-OR | Public Address Equipment Cabinet |  |  |  | NAVFAC
Mass Notification System
| MNCP | Mass Notification Control Panel |  |  |  | NAVFAC
| ACU | Autonomous Control Unit |  |  |  | NAVFAC
|  | Mass Notification Transciever |  |  |  | NAVFAC
Nurse Call Systems
| NCEC-1 | Laboratory Tone/Visual Nurse Call System |  |  |  | NAVFAC
| NCEC-2 | Primary Care/Gen Sur/Phy Exam Tone/Visual Nurse Call |  |  |  | NAVFAC
| NCEC-3 | Pediatrics Tone/Visual Nurse Call System |  |  |  | NAVFAC
| NCEC-4 | EDIS Tone/Visual Nurse Call System |  |  |  | NAVFAC
| NCEC-5 | Radiology/Musculo-Skeletal Tone/Visual Nurse Call Syst |  |  |  | NAVFAC
| NCEC-6 | Dental Tone/Visual Nurse Call System |  |  |  | NAVFAC
| NCEC-7 | OB/Gyn Nursing Unit Nurse Call System |  |  |  | NAVFAC