# BACnet Verification System

# Pre-Functional Checklist

| Equipment ID | [Equipment ID] |
| --- | --- |
| Building | [Building] |
| Location | [Room] |

Statement of Readiness

The above equipment and/or systems integral to them are complete and ready for functional testing, except as noted.  None of the outstanding items preclude safe and reliable functional tests being performed.  This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

Responsible Contractor Sign Here

| CONTRACTOR | PRINTED NAME | SIGNATURE | DATE |
| --- | --- | --- | --- |
| General Contractor (GC) |  |  |  |
| Mechanical Contractor (MC) |  |  |  |
| Electrical Contractor (EC) |  |  |  |
| TAB Contractor (TAB) |  |  |  |
| Controls Contractor (CC) |  |  |  |

This statement of readiness has been received by the Commissioning Agent on ___________________ and will be incorporated as part of the final commissioning report.

Equipment Information

| System | Device Type | Location | Manufacturer | Model / number | Serial number |
| --- | --- | --- | --- | --- | --- |
| CDDCW | Computer |  |  |  |  |
|  | Monitor |  |  |  |  |
|  | Printer |  |  |  |  |
| SOFTWARE | Network Protocol |  |  |  |  |
|  | CDDCW Operating System |  |  |  |  |
|  | CDDCW Applications |  |  |  |  |
|  | Controller Applications |  |  |  |  |
|  | Graphics |  |  |  |  |
| NETWORK | Gateway |  |  |  |  |
|  | Router |  |  |  |  |
|  | Bridge |  |  |  |  |
|  | Modem |  |  |  |  |
| PNEUMATICS | Air compressor |  |  |  |  |
|  | Dryer |  |  |  |  |
|  | PRV |  |  |  |  |
| CONTROLLER | AHU |  |  |  |  |
|  | Chiller |  |  |  |  |
|  | Heating |  |  |  |  |
| UNITARY CONTROL | VAV |  |  |  |  |
|  | FCU |  |  |  |  |
| GLOBAL DEVICES | Outside air temp sensor |  |  |  |  |
|  | OA humidity sensor |  |  |  |  |
|  | Power Surge suppressors |  |  |  |  |
|  | Phone line surge suppressors |  |  |  |  |

System Readiness Checklist

Yes = Checked and Completed, N/A = Not Applicable

| General Configuration and Installation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description | Yes | N/A | Initials | Date | Comments |
| Permanent labels affixed. |  |  |  |  |  |
| Permanent mounting of all components is complete with wires run neatly. |  |  |  |  |  |
| All wires are terminated and labeled. |  |  |  |  |  |
| CPU cooling fan and heat sinks are operating and clean. |  |  |  |  |  |
| Printers are tested and all ink supplies are filled. |  |  |  |  |  |
| The paper tray is full and the printer is ready to print test results and all requested trend reports. |  |  |  |  |  |
| All software is installed. |  |  |  |  |  |
| All software is licensed to the government with an original loadable copy of the software and software license on sight or in a safe storage cabinet selected by the government. |  |  |  |  |  |
| All graphic displays are created and loaded. |  |  |  |  |  |
| All points specified to be linked to a graphic display have been associated to that display and appear when the graphic is selected. |  |  |  |  |  |
| All points are labeled with a unique point descriptor. |  |  |  |  |  |
| Specific Application parameters defined for all points. |  |  |  |  |  |
| Power and lighting in place for component servicing and testing. |  |  |  |  |  |
| Network Infrastructure operational. |  |  |  |  |  |
| BACnet/IP (annex J) for Internet connectivity |  |  |  |  |  |
| BACnet (Annex L) Standard devices for OWS, Building Controller, Advanced Application Controller, Application Specific Controller are provided (Annex L is Attached for reference). |  |  |  |  |  |
| Server is rack-mounted in Ford House Office Building and can read/write to a floppy drive. |  |  |  |  |  |
| Operator Work Station (OWS) including: Computer configured with sufficient speed and capacity to allow HVAC operations as described in the specifications and related printers, keyboard, mouse and display monitor to provide the required performance. |  |  |  |  |  |
| Building Controllers programmed and operational. |  |  |  |  |  |
| Advanced Application Controllers programmed and operational. |  |  |  |  |  |
| Application Specific Controllers programmed and operational. |  |  |  |  |  |
| Application and network software for all devices configured and operational. |  |  |  |  |  |
| Operating software licenses and related source installation disks have been provided. |  |  |  |  |  |
| Final data files have been installed, debugged and backed up. |  |  |  |  |  |
| Manufacturer’s BACnet Protocol Implementation Conformance Statement Submitted (refer to ASHRAE standard 135, section 22). |  |  |  |  |  |
| Notes: |  |  |  |  |  |

| Test and Balance |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Description |  | Yes | N/A | Initials | Date | Comments |
| All system pressure and airflow Setpoints have been determined during the test and balance procedure per specifications. |  |  |  |  |  |  |
| All calibration adjustments and set point values determined during the Test and Balance activity have been permanently loaded and saved to nonvolatile memory within this system (at each controller and backed up in a central OWS accessible and down loadable file) |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |

| Direct Digital Controls (DDC) System |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description | Yes | N/A | Initials | Date | Comments |
| All DDC panels controlling field equipment are connected to the system |  |  |  |  |  |
| Each DDC controller has a local port for full access and programming. |  |  |  |  |  |
| Portable computer with OWS software for direct connection and local configuration, interrogation, and control of field controllers has been provided. |  |  |  |  |  |
| All analog and digital points such as temperature/pressure reading points, status & alarming points’ have been labeled and graphically depicted using a unique nomenclature and representative graphics |  |  |  |  |  |
| All temperature sensing points are calibrated and read correctly from sensor to graphic display of HVAC system at OWS. |  |  |  |  |  |
| All temperature/pressure Setpoints have been set to the correct values as determined by the engineer or by the balancing contractor during balancing. |  |  |  |  |  |
| Current operating software and data base parameters are backed up at all levels of the DDC system. This is critical, as power will be removed during verification testing. |  |  |  |  |  |
| All system failure alarms are programmed with a suitable alarm message sufficient to guide the operator to the appropriate action in the event the alarm is received |  |  |  |  |  |
| Control device and panel labeling is complete |  |  |  |  |  |
| Notes: |  |  |  |  |  |

| Electrical |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description | Yes | N/A | Initials | Date | Comments |
| Power is connected to a clean reliable power source including surge protection that is labeled. |  |  |  |  |  |
| Power disconnects (Circuit breakers) in place and labeled. |  |  |  |  |  |
| DDC panel controlling OWS and related OWS components are connected to emergency power. Panel number: _____________________ |  |  |  |  |  |
| All electrical connections (both power and data) are tight |  |  |  |  |  |
| Proper grounding and polarity (power and data) installed for component and unit |  |  |  |  |  |
| Notes: |  |  |  |  |  |

| Final |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description | Yes | N/A | Initials | Date | Comments |
| Inspect the interior of the controls enclosures for accumulation of dirt or indications of water. In the event that any of the surfaces are found to be unacceptable or contaminated, the surface(s) and related active products should be cleaned prior to Functional Performance Testing (FPT). |  |  |  |  |  |
| The entire system is installed and the software revision dates are recorded. |  |  |  |  |  |
| Notes: |  |  |  |  |  |

ANNEX L - DESCRIPTIONS AND PROFILES OF STANDARDIZED BACnet DEVICES (NORMATIVE)

(This annex is part of this Standard and is required of its use.)

This annex provides descriptions of six "standardized" types of BACnet devices. Any device that implements all the required BACnet capabilities for a particular device type and interoperability area may claim to be a device of that particular type. Devices may also provide additional capabilities and shall indicate these capabilities in their PICS. The devices defined herein are: BACnet Operator Workstation, BACnet Building Controller, BACnet Advanced Application Controller, BACnet Application Specific Controller, BACnet Smart Actuator, and BACnet Smart Sensor.

L.1 BACnet Operator Workstation (B-OWS)

The B-OWS is the operator's window into a BACnet system. While it is primarily used for the operation of a system, it may be used for configuration activities that are beyond the scope of this standard. It is not intended to perform direct digital control. It enables the specification of the following:

Data Sharing

•   Ability to provide the values of any of its BACnet objects

•   Archival storage of data

•   Presentation of data (i.e., reports and graphics)

•   Ability to monitor the value of all BACnet object types, including all required and optional properties

•   Ability to modify setpoints and parameters

Alarm and Event Management

•   Operator notification and presentation of event information

•   Alarm acknowledgment by operators

•   Alarm summarization

•    Adjustment of alarm limits

•   Adjustment of alarm routing

Scheduling

•   Modification of schedules

•   Display of the start and stop times (schedule) of scheduled devices

Trending

•   Modification of the parameters of a trend log

•   Display and archive of trend data

Device and Network Management

•   Ability to respond to queries about its status

•   Ability to respond to requests for information about any of its objects

•   Display of information about the status of any device on the BACnet internetwork

•   Display of information about any object in the BACnet internetwork

•   Ability to silence a device on the network that is transmitting erroneous data

•   Ability to synchronize the time in devices across the BACnet internetwork

•   Ability to cause a remote device to reinitialize itself

•   Ability to backup and restore the configuration of other devices

•   Ability to command half-routers to establish and terminate connections

•   Ability to query and change the configuration of half-routers and routers

L.2 BACnet Building Controller (B-BC)

A B-BC is a general-purpose, field-programmable device capable of carrying out a variety of building automation and control tasks. It enables the specification of the following:

Data Sharing

•   Ability to provide the values of any of its BACnet objects

•   Ability to retrieve the values of BACnet objects from other devices

•   Ability to allow modification of some or all of its BACnet objects by another device

•   Ability to modify some BACnet objects in other devices

Alarm and Event Management

•   Generation of alarm / event notifications and the ability to direct them to recipients

•   Maintain a list of unacknowledged alarms / events

•   Notifying other recipients that the acknowledgment has been received

•   Adjustment of alarm / event parameters

Scheduling

•   Ability to schedule output actions, both in the local device and in other devices, both binary and analog, based on date and time

Trending

•   Collection and delivery of (time, value) pairs

Device and Network Management

•   Ability to respond to queries about its status

•   Ability to respond to requests for information about any of its objects

•   Ability to respond to communication control messages

•   Ability to synchronize its internal clock upon request

•   Ability to perform re-initialization upon request

•   Ability to upload its configuration and allow it to be subsequently restored

•   Ability to command half-routers to establish and terminate connections

L.3 BACnet Advanced Application Controller (B-AAC)

A B-AAC is a control device with limited resources relative to a B-BC. It may be intended for specific applications and supports some degree of programmability.

Data Sharing

•   Ability to provide values for any of its BACnet objects upon request

•   Ability to allow modification of some or all of its BACnet objects by another BACnet device

Alarm and Event Management

•   Generation of limited alarm and event notifications and the ability to direct them to recipients

•   Tracking acknowledgments of alarms from human operators

•   Adjustment of alarm parameters

Scheduling

•   Ability to schedule actions in the local device based on date and time

Trending

•   No requirement

Device and Network Management

•   Ability to respond to queries about its status

•   Ability to respond to requests for information about any of its objects

•   Ability to respond to communication control messages

•   Ability to synchronize its internal clock upon request

•   Ability to perform re-initialization upon request

L.4 BACnet Application Specific Controller (B-ASC)

A B-ASC is a controller with limited resources relative to a B-AAC. It is intended for use in a specific application and supports limited programmability. It enables specification of the following:

Data Sharing

•   Ability to provide the values of any of its BACnet objects

•   Ability to allow modification of some or all of its BACnet objects by another device

Alarm and Event Management

•   No requirement

Scheduling

•   No requirement

Trending

•   No requirement

Device and Network Management

•   Ability to respond to queries about its status

•   Ability to respond to requests for information about any of its objects

•   Ability to respond to communication control messages

L.5 BACnet Smart Actuator (B-SA)

A B-SA is a simple control device with limited resources; it is intended for specific applications.

Data Sharing

•   Ability to provide values for any of its BACnet objects upon request

•   Ability to allow modification of some or all of its BACnet objects by another device

Alarm and Event Management

•   No requirement

Scheduling

•   No requirement

Trending

•   No requirement

Device and Network Management

•   No requirement

L.6 BACnet Smart Sensor (B-SS)

A B-SS is a simple sensing device with very limited resources.

Data Sharing

•   Ability to provide values for any of its BACnet objects upon request

Alarm and Event Management

•   No requirement

Scheduling

•   No requirement

Trending

•   No requirement

Device and Network Management

•   No requirement

L.7 Profiles of the Standard BACnet Devices

The following tables indicate which BIBBs must be supported by each device type for each interoperability area.

|  | B-OWS | B-BC | B-AAC | B-ASC | B-SA | B-SS |
| --- | --- | --- | --- | --- | --- | --- |
| Data Sharing | DS-RP-A,B | DS-RP-A,B | DS-RP-B | DS-RP-B | DS-RP-B | DS-RP-B |
|  | DS-RPM-A | DS-RPM-A,B | DS-RPM-B | DS-WP-B | DS-WP-B |  |
|  | DS-WP-A | DS-WP-A,B | DS-WP-B |  |  |  |
|  | DS-WPM-A | DS-WPM-B | DS-WPM-B |  |  |  |
|  |  | DS-COVU-A,B |  |  |  |  |

|  | B-OWS | B-BC | B-AAC | B-ASC | B-SA | B-SS |
| --- | --- | --- | --- | --- | --- | --- |
| Alarm & Event | AE-N-A | AE-N-I-B | AE-N-I-B |  |  |  |
| Mgmt | AE-ACK-A | AE-ACK-B | AE-ACK-B |  |  |  |
|  | AE-INFO-A | AE-INFO-B | AE-INFO-B |  |  |  |
|  | AE-ESUM-A | AE-ESUM-B |  |  |  |  |

|  | B-OWS | B-BC | B-AAC | B-ASC | B-SA | B-SS |
| --- | --- | --- | --- | --- | --- | --- |
| Scheduling | SCHED-A | SCHED-E-B | SCHED-I-B |  |  |  |

|  | B-OWS | B-BC | B-AAC | B-ASC | B-SA | B-SS |
| --- | --- | --- | --- | --- | --- | --- |
| Trending | T-VMT-A | T-VMT-I-B |  |  |  |  |
|  | T-ATR-A | T-ATR-B |  |  |  |  |

|  | B-OWS | B-BC | B-AAC | B-ASC | B-SA | B-SS |
| --- | --- | --- | --- | --- | --- | --- |
| Device & | DM-DDB-A,B | DM-DDB-A,B | DM-DDB-B | DM-DDB-B |  |  |
| Network Mgmt | DM-DOB-A,B | DM-DOB-A,B | DM-DOB-B | DM-DOB-B |  |  |
|  | DM-DCC-A | DM-DCC-B | DM-DCC-B | DM-DCC-B |  |  |
|  | DM-TS-A | DM-TS-B or DM-UTC-B | DM-TS-B or DM-UTC-B |  |  |  |
|  | DM-UTC-A |  |  |  |  |  |
|  | DM-RD-A | DM-RD-B | DM-RD-B |  |  |  |
|  | DM-BR-A | DM-BR-B |  |  |  |  |
|  | NM-CE-A | NM-CE-A |  |  |  |  |

Additional Comments: