# Fire-Tube Boilers (Steam L.P.)

# Pre-Functional Checklist

| Equipment ID | [Equipment ID] |
| --- | --- |
| Building | [Building] |
| Location | [Room] |

Statement of Readiness

The above equipment and/or systems integral to them are complete and ready for functional testing, except as noted.  None of the outstanding items preclude safe and reliable functional tests being performed.  This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

Responsible Contractor Sign Here

| CONTRACTOR | PRINTED NAME | SIGNATURE | DATE |
| --- | --- | --- | --- |
| General Contractor (GC) |  |  |  |
| Mechanical Contractor (MC) |  |  |  |
| Electrical Contractor (EC) |  |  |  |
| TAB Contractor (TAB) |  |  |  |
| Controls Contractor (CC) |  |  |  |

This statement of readiness has been received by the Commissioning Agent on ___________________ and will be incorporated as part of the final commissioning report.

Equipment Information

| Make |  |  | Model Number |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Serial Number |  |  | Capacity BTUH |  | PPH |  |
| Volts/Phase |  |  | Function |  | Service Area |  |
| Notes: |  |  |  |  |  |  |

System Readiness Checklist

Yes = Checked and Completed, N/A = Not Applicable

| General Installation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description | Yes | N/A | Initials | Date | Comments |
| General appearance good, no apparent damage |  |  |  |  |  |
| Fuel Oil Pipe, fittings and accessories complete |  |  |  |  |  |
| Fuel Oil Pumps and accessories complete |  |  |  |  |  |
| Pipe, gas, fittings and accessories complete |  |  |  |  |  |
| Isolation valves and balancing valves installed |  |  |  |  |  |
| Pipes not supported on boiler |  |  |  |  |  |
| Steam system flushing complete, strainers cleaned and steam traps operational |  |  |  |  |  |
| Condensate receiver and accessories installed |  |  |  |  |  |
| Condensate receiver and accessories installed |  |  |  |  |  |
| Condensate pipe, fittings and pumps complete |  |  |  |  |  |
| Boiler temperature control installed |  |  |  |  |  |
| Pressure gages installed |  |  |  |  |  |
| Test plugs (P/T) installed near all control sensors and as per spec |  |  |  |  |  |
| Flow switch installed as specified |  |  |  |  |  |
| Proper boiler fluid level |  |  |  |  |  |
| Expansion tanks and accessories installed |  |  |  |  |  |
| Air removal fitting and accessories installed |  |  |  |  |  |
| Equipment labels affixed |  |  |  |  |  |
| Tube pull and access door space adequate and to code |  |  |  |  |  |
| Combustion air supply installed |  |  |  |  |  |
| No leaking apparent |  |  |  |  |  |
| Boiler water condensate pumps and accessories installed |  |  |  |  |  |
| Boiler safeties, burner controls and accessories installed |  |  |  |  |  |
| Notes: |  |  |  |  |  |

| Draft Fan (If Applicable) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Description |  | Yes | N/A | Initials | Date | Comments |
| Fan is installed per manufacturer’s instructions |  |  |  |  |  |  |
| Casing in good condition; no dents |  |  |  |  |  |  |
| Mountings checked and shipping bolts removed |  |  |  |  |  |  |
| Vibration isolators installed |  |  |  |  |  |  |
| Plenums free of debris |  |  |  |  |  |  |
| Fan rotates freely and in correct direction |  |  |  |  |  |  |
| Bearings lubricated |  |  |  |  |  |  |
| Equipment guards and safety devices installed |  |  |  |  |  |  |
| Starter installed and size coordinated with motor |  |  |  |  |  |  |
| Motor correctly aligned |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |

| Gas Train |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description | Yes | N/A | Initials | Date | Comments |
| Gas train Installed in accordance with NFPA, FM and IRI |  |  |  |  |  |
| Gas train checked for leaks |  |  |  |  |  |
| Gas piping installed and tested |  |  |  |  |  |
| Gas train vents are terminated per code |  |  |  |  |  |
| Gas train safety devices are operational |  |  |  |  |  |
| Drip leg provided in gas main |  |  |  |  |  |
| Gas cock valve orientation per manufacturers recommendations |  |  |  |  |  |
| Gas cock valve accessible and travels freely |  |  |  |  |  |
| Gas cock checked for leaks in closed position with the other gas train valves open |  |  |  |  |  |
| Gas regulator installed per manufacturer’s instructions |  |  |  |  |  |
| Gas regulator properly located in non-turbulent section of pipe |  |  |  |  |  |
| Gas regulator is properly oriented |  |  |  |  |  |
| Gas regulator is wired correctly |  |  |  |  |  |
| Gas regulator is accessible for test and service |  |  |  |  |  |
| Gas pressure adjusted and verified within acceptable range |  |  |  |  |  |
| Confirmed gas PRV operation |  |  |  |  |  |
| Gas pressure sensor limits are appropriate for application |  |  |  |  |  |
| High gas pressure switch installed per manufacturer’s instructions |  |  |  |  |  |
| High gas pressure switch is properly wired |  |  |  |  |  |
| Low gas pressure switch installed per manufacturer’s instructions |  |  |  |  |  |
| Low gas pressure switch is properly wired |  |  |  |  |  |
| Gas control valve installed per manufacturer’s instructions |  |  |  |  |  |
| Gas control valve installed vertical with direction of flow confirmed |  |  |  |  |  |
| Gas control valve accessible and travels freely |  |  |  |  |  |
| Gas control valve checked for leaks in closed position with the other gas train valves open |  |  |  |  |  |
| Gas control valve had no visible damage |  |  |  |  |  |
| Gas control valve nameplate readings checked against application and is applied correctly |  |  |  |  |  |
| Drum relief valve setting adequate for application |  |  |  |  |  |
| Drum relief valve discharge properly piped |  |  |  |  |  |
| Stop-Check valve pressure rating applicable for duty |  |  |  |  |  |
| Stop-Check valve installed per manufacturers instructions |  |  |  |  |  |
| Notes: |  |  |  |  |

| Fuel Oil Piping (If Applicable) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description | Yes | N/A | Initials | Date | Comments |
| Fuel Oil Piping Installed in accordance with NFPA, FM and IRI |  |  |  |  |  |
| Fuel Oil Piping checked for leaks |  |  |  |  |  |
| Fuel Oil Piping installed and tested |  |  |  |  |  |
| Fuel Oil Piping safety devices are operational |  |  |  |  |  |
| Fuel Oil Pumps and accessories installed |  |  |  |  |  |
| Fuel Oil Pumps started up and operational per manufacturers recommendations |  |  |  |  |  |
| Fuel Oil anamizer and accessories installed |  |  |  |  |  |
| Gas cock checked for leaks in closed position with the other gas train valves open (manufacturers representative has started up burner with fuel oil) |  |  |  |  |  |
| Fuel Oil Pressure adjusted and verified within acceptable range |  |  |  |  |  |
| Confirmed Fuel Oil PRV operation |  |  |  |  |  |
| Fuel Oil pressure sensor limits are appropriate for application |  |  |  |  |  |
| High Fuel Oil pressure switch installed per manufacturer’s instructions |  |  |  |  |  |
| High Fuel Oil pressure switch is properly wired |  |  |  |  |  |
| Low Fuel Oil pressure switch installed per manufacturer’s instructions |  |  |  |  |  |
| Low Fuel Oil pressure switch is properly wired |  |  |  |  |  |
| Fuel Oil control valve installed per manufacturer’s Instructions |  |  |  |  |  |
| Fuel Oil control valve accessible and travels freely |  |  |  |  |  |
| Fuel Oil control valve checked for leaks in closed position |  |  |  |  |  |
| Fuel Oil control valve had no visible damage |  |  |  |  |  |
| Fuel Oil control valve nameplate readings checked against application and is applied correctly |  |  |  |  |  |
| Stop-Check valve pressure rating applicable for duty |  |  |  |  |  |
| Stop-Check valve installed per manufacturers instructions |  |  |  |  |  |
| Notes: |  |  |  |  |  |

| Piping |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description | Yes | N/A | Initials | Date | Comments |
| Steam piping complete, elbows minimized, pitched back to condensate receiver, makeup water piping and safety reliefs installed |  |  |  |  |  |
| Piping supported independently of the boiler |  |  |  |  |  |
| Piping type and flow direction labeled on piping |  |  |  |  |  |
| Isolation valves, balancing valves and piping specialties installed |  |  |  |  |  |
| Steam system flushing complete and strainers cleaned |  |  |  |  |  |
| Chemical treatment system or plan installed |  |  |  |  |  |
| Unions installed to allow for easy removal of control valves |  |  |  |  |  |
| Steam supply functional (preference is to have the steam system VTP complete and satisfactory). |  |  |  |  |  |
| Pressure gauges have been installed |  |  |  |  |  |
| Notes: |  |  |  |  |  |

| Electrical and Controls |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description | Yes | N/A | Initials | Date | Comments |
| Power disconnect is located within site of the unit it controls and labeled |  |  |  |  |  |
| All electric connections tight and installed properly |  |  |  |  |  |
| Grounding installed for components and unit |  |  |  |  |  |
| Safeties installed and operational |  |  |  |  |  |
| Starter overload breakers installed and correct size |  |  |  |  |  |
| All control devices, pneumatic tubing and wiring complete |  |  |  |  |  |
| Control system interlocks connected and functional |  |  |  |  |  |
| Size of over current heater in motor starter correct (where applicable) |  |  |  |  |  |
| HOA Switch installed per manufacturer’s instructions (if applicable) |  |  |  |  |  |
| Operation of HOA switch checked in all positions |  |  |  |  |  |
| Proper safeties in control when HOA switch in Hand position |  |  |  |  |  |
| Sensors calibrated (see calibration section below) |  |  |  |  |  |
| Multiple boiler interlocks completed |  |  |  |  |  |
| Notes: |  |  |  |  |  |

| Flue |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Description |  | Yes | N/A | Initials | Date | Comments |
| Installed per manufacturers instructions |  |  |  |  |  |  |
| Sloped toward boiler |  |  |  |  |  |  |
| Clearance to combustibles per code |  |  |  |  |  |  |
| Protection in place to prevent burning hazard |  |  |  |  |  |  |
| Discharge is protected from rain and blockage |  |  |  |  |  |  |
| Provisions in place for expansion compensation |  |  |  |  |  |  |
| Discharge is located to preclude re-entrainment back into the building |  |  |  |  |  |  |
| Draft checked and meets minimum requirements of boiler manufacturer |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |

| Low Pressure Cutoff |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Description |  | Yes | N/A | Initials | Date | Comments |
| Installed per manufacturer’s instructions |  |  |  |  |  |  |
| Wire terminations checked and correct |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |

| TAB |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Description |  | Yes | N/A | Initials | Date | Comments |
| Installation of system and balancing devices is completed following NEBB or AABC procedures and contract documents |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |

| Operational Checks |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Description |  | Yes | N/A | Initials | Date | Comments |
| Measure line to line voltage phase imbalance for all three-phase motors: (%Imbalance = 100 x (avg. - lowest) / avg.) Record imbalance of compressor. Imbalance less than 2%? |  |  |  |  |  |  |
| Record full load running amps for all three-phase motors. _____rated FL amps x ______srvc factor = _______ (Max amps). Running less than max? |  |  |  |  |  |  |
| No unusual noise and vibration when running |  |  |  |  |  |  |
| Boiler safeties energized and tested |  |  |  |  |  |  |
| Specified sequences of operation and operating schedules have been implemented with all variations documented |  |  |  |  |  |  |
| Specified point-to-point checks have been completed and documentation record submitted for this system |  |  |  |  |  |  |
| Startup report completed with this checklist attached. (Includes full listing of all internal settings with notes as to which settings are BAS controlled or monitored and which are integral |  |  |  |  |  |  |
| Startup report includes written certification from boiler manufacturer that all specified features, controls and safeties have been installed and are functioning properly and that the installation and application comply with the manufacturer’s recommendations |  |  |  |  |  |  |
| Startup report includes optimal and actual percent CO2, CO, O2, stack temperature; combustion efficiency |  |  |  |  |  |  |
| Piping gages, BAS and boiler panel temperature and pressure readouts match (see calibration section below) |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |

Additional Comments: