# Centrifugal Water Chiller (Water Cooled)

# Pre-Functional Checklist

| Equipment ID | [Equipment ID] |
| --- | --- |
| Building | [Building] |
| Location | [Room] |

Statement of Readiness

The above equipment and/or systems integral to them are complete and ready for functional testing, except as noted.  None of the outstanding items preclude safe and reliable functional tests being performed.  This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

Responsible Contractor Sign Here

| CONTRACTOR | PRINTED NAME | SIGNATURE | DATE |
| --- | --- | --- | --- |
| General Contractor (GC) |  |  |  |
| Mechanical Contractor (MC) |  |  |  |
| Electrical Contractor (EC) |  |  |  |
| TAB Contractor (TAB) |  |  |  |
| Controls Contractor (CC) |  |  |  |

This statement of readiness has been received by the Commissioning Agent on ___________________ and will be incorporated as part of the final commissioning report.

Equipment Information

| Make |  | Model Number |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Serial Number |  | Capacity BTUH |  | GPM Condenser ; Evaporator; |  |
| Volts/Phase |  | Function |  | Service Area |  |
| Notes: |  |  |  |  |  |

System Readiness Checklist

Yes = Checked and Completed, N/A = Not Applicable

| General Installation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description | Yes | N/A | Initials | Date | Comments |
| General appearance good, no apparent damage |  |  |  |  |  |
| Proper vibration isolators installed and adjusted |  |  |  |  |  |
| Seismic restraints in place |  |  |  |  |  |
| Pipe fittings and accessories complete |  |  |  |  |  |
| Isolation valves and balancing valves installed |  |  |  |  |  |
| Pipes not supported on chiller |  |  |  |  |  |
| Hydronic system flushing complete and strainers cleaned |  |  |  |  |  |
| Cooling tower or condenser system checked out |  |  |  |  |  |
| Evaporator air vent provided |  |  |  |  |  |
| Water cooled condenser air vent provided |  |  |  |  |  |
| Refrigerant relief pipe extended to outside |  |  |  |  |  |
| Sequencer controls installed (If specified) |  |  |  |  |  |
| Pressure gages installed |  |  |  |  |  |
| Test plugs (P/T) installed near all control sensors and as per spec |  |  |  |  |  |
| Flow switch installed as required |  |  |  |  |  |
| Flow meters installed |  |  |  |  |  |
| Proper refrigerant level |  |  |  |  |  |
| No refrigerant leaking |  |  |  |  |  |
| Proper oil level |  |  |  |  |  |
| Refrigerant monitor installed |  |  |  |  |  |
| Purge unit installed, if specified |  |  |  |  |  |
| Equipment labels affixed |  |  |  |  |  |
| Oil heater installed properly |  |  |  |  |  |
| Over current motor heater installed and correct size |  |  |  |  |  |
| Oil filter clean |  |  |  |  |  |
| No fluid leaking apparent |  |  |  |  |  |
| Notes: |  |  |  |  |  |

| Electrical and Controls |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Description |  | Yes | N/A | Initials | Date | Comments |
| Power disconnect is located within site of the unit it controls and labeled |  |  |  |  |  |  |
| All electric connections tight and installed properly |  |  |  |  |  |  |
| Grounding installed for components and unit |  |  |  |  |  |  |
| Safeties installed and operational |  |  |  |  |  |  |
| Starter overload breakers installed and correct size |  |  |  |  |  |  |
| All control devices, pneumatic tubing and wiring complete |  |  |  |  |  |  |
| Control system interlocks connected and functional |  |  |  |  |  |  |
| Emergency power off (EPO) switch installed as specified |  |  |  |  |  |  |
| Operation of EPO switch checked in all positions |  |  |  |  |  |  |
| Proper safeties in control when EPO switch is active |  |  |  |  |  |  |
| Sensors calibrated (see calibration section below) |  |  |  |  |  |  |
| Refrigerant monitor and purse checked |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |

| Piping |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description | Yes | N/A | Initials | Date | Comments |
| Piping installation checked against the drawings and all devices gages and appurtenances are in place |  |  |  |  |  |
| Piping supported independently of the chiller |  |  |  |  |  |
| Piping type and flow direction labeled on piping |  |  |  |  |  |
| Isolation valves, balancing valves and piping specialties installed |  |  |  |  |  |
| System flushing complete and strainers cleaned |  |  |  |  |  |
| Hydronic system flushing complete and strainers cleaned |  |  |  |  |  |
| Notes: |  |  |  |  |

| TAB |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description | Yes | N/A | Initials | Date | Comments |
| Installation of system and balancing devices is completed following NEBB or AABC procedures and contract documents |  |  |  |  |  |
| Notes: |  |  |  |  |  |

| Operational Checks |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description | Yes | N/A | Initials | Date | Comments |
| Measure line to line voltage phase imbalance for compressor: (%Imbalance = 100 x (avg. - lowest) / avg.) Record imbalance of compressor. Imbalance less than 2%? |  |  |  |  |  |
| Record full load running amps for compressor. _____rated FL amps x ______srvc factor = _______ (Max amps). Running less than max? |  |  |  |  |  |
| No unusual noise and vibration when running |  |  |  |  |  |
| Compressor interlocking with oil pressure |  |  |  |  |  |
| Adequate oil pressure when compressor shaft is turning |  |  |  |  |  |
| Pre-rotation vane closed before compressor reaches full speed (centrifuge-modify as required) |  |  |  |  |  |
| Pre-rotation vane steady when load changes |  |  |  |  |  |
| Specified sequences of operation and operating schedules have been implemented with all variations documented |  |  |  |  |  |
| Specified point-to-point checks have been completed and documentation record submitted for this system |  |  |  |  |  |
| Startup report completed with this checklist attached. (Includes full listing of all internal settings with notes as to which settings are BAS controlled or monitored and which are integral |  |  |  |  |  |
| Startup report includes written certification from chiller manufacturer that all specified features, controls and safeties have been installed and are functioning properly and that the installation and application comply with the manufacturer’s recommendations |  |  |  |  |  |
| Piping gages, BAS and chiller panel temperature and pressure readouts match (see calibration section below) |  |  |  |  |  |
| Notes: |  |  |  |  |  |

Additional Comments: